THIS POLICY IS FOR ALL STAFF INCLUDING SUPPLY, PART TIME, AND VOLUNTARY.  IT ALSO INCLUDES HEALTH AUTHORITY STAFF, METRO, AND OUTSIDE CONTRACTORS.

## IN THE EVENT OF A FIRE

### FIRE DRILL

- Sound the Alarm.

- Leave the building by the nearest exit.

- Close all doors behind you.

- Assemble onto school playground.

- Do not try to tackle the fire

- Do not return to the building for any reason, until told to do so.

The Duty Fire Warden will call the Fire Brigade (This will be a member of the Senior Leadership Team)

Fire Safety Policy 2020

REMEMBER TO DIAL THE EXTRA (9) FOR EMERGENCIES (9) 999

Staff should evacuate the pupils they are with at the time.  This means that they must at all times be aware of the pupils for whom they are responsible.

Care should be taken if classes are split e.g. between staff or locations.

It should be clear which member of staff is responsible for specific children

Take particular care with those pupil’s who are out of the room at the time for any reason.

Evacuate the building by the nearest and easiest safe route

Line up at the fire assembly point in the playground by the Minibus Pens.

#### NB Close all doors behind you

Staff not attached to a class should make themselves available at the assembly point and report to a senior member

of staff, to  offer assistance.  Missing students should be reported to senior staff straight away.

NB

If you suspect the fire is on the other side of a solid door do not open it.  Tell tale signs may be hot door handles, or smoke seeping through.

- If you have been using the swimming or hydrotherapy pools and have decided to assemble outside the pool area, send a member of staff to the playground fire assembly point to make senior staff aware that a group is there.

POOL SAFETY

If you are using the pool when an alarm is sounded you should get out of the pool. Staff and pupils should put on either a gown or foil blanket (located by

the emergency exits), and proceed to the car park. Once at

the exit the group leader can allocate a member of staff to inform the Fire Wardens (senior managers) that the group is safe and clear of the pool. N.B. This member of staff will need to walk around the perimeter of the building to reach the fire assembly point.

In the event of a pupil refusing to move out of the pool a

member of staff should stay by the poolside with them whilst

another member of staff informs Fire Wardens (senior management) of the problem once other pupils are safe. Pupils should not be forcibly removed from the pool unless there is a clear danger e.g. you can see the fire.

Only if pupils are in imminent danger should they be evacuated from the pool in any other way.

USE OF HOISTS AND SLINGS DURING AN EMERGENCY

Foxfield School is equipped with ceiling mounted hoists in several classrooms, in a hygiene room, the medical room, sensory room and both pool areas. If you are working with a pupil who is a wheelchair user and the alarm is sounding you should start to evacuate the pupil using the correct hoisting methods (unless

instructed otherwise by a senior manager). Once pupils have been hoisted into wheelchairs they can be taken out of the building, safely. All overhead hoists have a back – up system enabling them to be used even when power has failed so are safe to use at all times.

FIRE SAFETY PRECAUTIONS

1. FIRE ALARM SYSTEMS

This will be tested once a    week at a set time, by the Caretaker.

2. FULL EVACUATION

This will be undertaken at least once a term.

3. TRAINING

All staff will receive some instruction from a competent person at regular intervals.  In between these times, new staff will be provided with copies of the fire safety policy, and given brief verbal guidance, as part of their induction.

4. DISPLAYS

Recent information has shown that displays can be a major contributory factor in the spread of fire.  Therefore the

following points should be noted.

- Free standing displays must not obstruct entrances.

- Displays should not be hung   from the ceiling as a rule, and never near entrances and exits.

- NO displays on any surface other than the boards, and only within the bounds of the board.

This is because the overall surface area covered by displays should not exceed 20% of the overall surface area.

5. EXITS

Should be kept clear at all times, including the external gates so as to allow access for fire appliances.

6. RUBBISH & WASTE

This should not be allowed to accumulate.  Please report to Caretaker and/or Head if you are concerned about this.

7. VISITORS

Should sign in/out using the appropriate books and report   to the office.

8. CONTRACTORS ON SITE

Should inform the school if they are undertaking any ‘hot work’. (See Lone workers policy).

9. FIRE DOORS

These should be kept closed at all times.  They are vital in ensuring the spread of fire is restricted.

ELECTRICAL/DOMESTIC, SCIENCE EQUIPMENT

This equipment should be regularly checked by an expert.  All staff should:

- Visually inspect for obvious faults (loose plugs, exposed wire, hot plugs etc).

- Report faults immediately, verbally or via faults form on the Intranet.

- Unplug all kettles  after use, empty them of water and put away in cupboards.  Turn off cookers after use.

NB

Due to health and safety guidelines and the recommendations of Wirral Authority, Foxfield

School cannot accept the donation of second hand electrical equipment of any sort

e.g. toasters, radio cassettes, computers etc. for use in school by pupils or staff unless they have a valid P.A.T. testing certificate

Likewise the school will not accept the donations of electrical items for sale or as prizes at fairs, functions or in the charity shop unless brand new and still in its box. (See Electrical safety policy for further details).

#### FIRE FIGHTING EQUIPMENT

All staff should be aware where Fire Blankets and extinguishers are located. However, do not attempt to tackle a fire. Raise the alarm and evacuate the building.

#### YEARLY AUDIT

This will be conducted at the beginning of each year using the checklist in the fire precautions log.

#### INDIVIDUAL RESPONSIBILITIES

- HEAD / DEPUTYHEAD

- Ensure faulty equipment is replaced.

- Ensure all staff are aware of policy

- STAFF

- Should read and understand the policy documents.

- Should always know who they should be supervising, and if a pupil is out of class, where they are.

- Know the location of EMERGENCY EXITS, FIRE FIGHTING

EQUIPMENT, AND

ALARMS

3. OFFICE STAFF

- The Administrations Clerk should take the visitor’s book registers, office records, and pupil absence books to the fire assembly point, whilst another member of the administration or management team will be deployed at the front of the building preventing visitors from entering the school and to direct fire engines and other emergency vehicles.

#### FIRE PRECAUTIONS CHECKLIST

All points below should be carried out by an appointed

person (Caretaker) and recorded in the Fire Precautions Log Books.

##### Daily

Check exit doors & emergency routes are free from obstruction.

##### Weekly

- Test fire alarm via different call alarm point

- Ensure fire extinguishers are in correct location and that their tamper devices have not been disturbed.

- Check fire signs are in situ.

Each Term

Fire drill/evacuation

(This will be carried out by the person co-ordinating Health and Safety)

Annual

Check: fire extinguishers, fire blankets, (this is carried out by service engineers)

REMEMBER TO DIAL THE EXTRA ‘9’ FOR EMERGENCIES

(9) 999

Class Numbers for fire assembly points

Other Staff Line - 20

B4 – Line - 19

B3 – Line - 18

B2 - Line – 17

B1 – Line - 16

G4 – Line - 15

G3 – Line – 14

G2 – Line - 13

G1 – Line - 12

R6 – Line - 11

R5 – Line - 10

R4 – Line - 9

R3 – Line - 8

R2 – Line - 7

R1 – Line - 6

O3 – Lines – 4 & 5

O1/O2 – Lines -1, 2 & 3

PUPIL REFUSAL

When the fire alarm sounds a senior manager checks the building to make sure that the building has been evacuated.

In the event of a pupil refusing to move the following safety procedures should be followed.

PRACTICE SITUATIONS

In a practice situation it is not advisable to try and remove a

pupil forcibly from the building as the child or a member of

staff may sustain injury. However, a risk assessment should be formerly carried out and produced to say how that pupil would be removed from the building if you knew that it was a real emergency and that a fire was close at hand.

REAL FIRE OR EMERGENCY SITUATIONS

Unless the fire is close by and there is imminent danger, staff can wait with the pupil until the fire brigade arrive. If pupil is in a dangerous situation they can be moved to a place of safety within the building e.g. behind fire doors.

FIRE DOORS

All fire doors have been designed to keep a fire back for at least 30 minutes. Corridor fire doors should automatically close when the alarm is raised, classroom doors (which are also fire doors) should be closed when leaving the building to prevent the spread of fire and minimise risks

and damage. Fire doors also have a pane of glass in them which is designed to give a visual inspection of classrooms to make sure rooms have been evacuated without the need to open the door and also to ascertain if there is a fire in that particular room. For these reasons;

N.B. FIRE DOORS SHOULD NEVER BE WEDGED OPEN EVEN IF IT IS HOT. PICTURES, AND BLACKOUTS SHOULD NOT BLOCK OUT WINDOWS (EVEN IF NOT DOING SO ACTS AS A DISTRACTION TO PUPILS)

MAINTENANCE OF GATES AND LOCKS

Gates and locks are checked and maintained on a regular basis to ensure that they are in perfect working order in the event of an emergency.

N.B.

When the alarm sounds all gates leading to evacuation routes will be unlocked, but not necessarily opened Therefore extra care will be needed to pupils who may attempt to abscond when at fire assembly points.

EVACUATION PROCEDURES

When an alarm is raised it is the duty of the teacher and staff to evacuate the building as calmly and effectively as possible. There are however a number of other staff who have responsibilities in the event of an emergency. Assuming that all office staff are in the building but the caretaker is off site i.e. between 10.30am and 2.30pm, then the following people are responsible as follows;

The Administration Clerks will take out the printed electronic registers, Evolve forms (Groups out of school information)

Visitors Book, Pupil Absence Book and Staff off site book and a ‘Grab Bag’ and move to the assembly point. By studying these we are able to quickly ascertain who should be accounted for, and whether or not we still have someone missing in the building.

The Finance Clerk will move to the front gate to prevent anyone walking into the school whilst the alarm is sounding. Only when the alarm stops is it safe for anyone to re – enter the building.

The Head Teacher (Lead Fire Warden) will look at the alarm panel to discover in which part of the building the alarm panel was activated. He will then go to that point to ascertain whether or not it is a false alarm. Once he has gathered this information he will collect the second ‘Grab Bag’ and move to the assembly point to discuss his findings with the deputy.

If he is sure that it is a false alarm he will issue instructions to the deputy to allow pupils to re-enter the building once the alarm has ceased. If he has discovered a fire he would have rung the fire brigade on the way to the fire assembly point and will then give instructions to the deputy whilst he goes to meet and direct the fire brigade.

The Deputy will be responsible for overseeing the congregation of staff and pupils to the assembly point and then taking registers and roll call. The Deputy will also be responsible for opening up all gates which aid access to evacuation of the premises should this be needed i.e. gate to path alongside the Adventure Playground and the gate onto the path between Woodchurch High and Foxfield.

There are several keys for these gates which all have identical locks.

There is a main fire/gate key hanging up in the office key cupboard. The Head and Deputy also have copies of these keys.

MAGNETIC LOCK RELEASES

Many of the doors at Foxfield have magnetic locks which are linked up to the alarm system so

that when an alarm is raised the locks will automatically released and cease to function. If the release mechanism fails the locks can then be released manually.

ALTERNATIVE ESCAPE ROUTES

The main route of evacuation to the assembly point in the main playground for anyone is the fire doors in classrooms or the fire doors at the end of corridors. If your main escape route opens up onto the car park then make your way around the perimeter of the building to the Fire Assembly Point adjacent to the Minibus Pens.

The main pupil entrance will be the logical exit for those in the Gym, Music room and Hall as this gives more direct access to the

Fire Assembly Point than going out onto the car park.

N.B.

When the fire alarm is activated the shutters in the hall and gym will slowly close and the air conditioning closes down so as not to provided an added source of oxygen to the fire.

Air circulation for the kitchens and pool plant room also switch off and will need to be manually restarted once the alarm has been reset, however other systems will automatically go back on once the alarms are set.

EMERGENCY EVACUATION PLAN

In the event of a real fire emergency we will evacuate the premises using the gates between Woodchurch High School and Foxfield and we will congregate in a safe area on the Woodchurch High School site.